## Model
Building Maintenance / Replacement Schedule
(Does not include permanent construction costs, loan costs, etc.) Building placed "online" January 2011
|  | Install / Purch Date |  | Last Upgrade Date
|  |  | Current Status |  | Anticipated Maintenance Need | Estimated DATE | Estimated Cost | Funding Source | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030
SYSTEMS
| Electrical | 2010 | Annual Maintenance done | 2011 | Maintenance | Annually | 500 | Operating | 500 | 500 | 600 | 600 | 700 | 700 | 800
| HVAC | 2010 | Major Repair to correct original system flaws accomplished during FY13 | 2018 | Partial replacement In 7 years | 2025 | 35000 | Grant | 2025: 35000
| Security | 2010 | Maintenance done 2012, 2018 | 2018 | Upgrade / Replacement | 2024 | 12000 | Reserve | 2024: 12000
| Plumbing | 2010 | Minor repairs to sinks 2011; upgrades 2018 | 2018 | Maintenance | Annually | 750 | Operating | 750 | 750 | 800 | 800 | 900 | 900 | 1200
FURNISHINGS
| Lighting Fixtures (Lobby/house) | 2010 | Add'l + replacement 2011 | 2011 | Upgrade / Replacement | 2027 | 19000 | Reserve | 2027: 19000
| Theatre Seating | 2010 | Spot clean/repair as needed; reupholstered 2016 | 2016 | Reupholster appx every 10 years | 2026 | 16000 | Operating / Reserve | 150 | 150 | 16000 | 150 | 200 | 200 | 200
| Carpeting | 2010 | Spot clean/repair as needed; recarpeted in 2020 | 2020 | Maintenance/ Recarpet | Every 10 years | 23000 | Operating / Reserve | 500 | 500 | 600 | 600 | 700 | 700 | 23000
| Office Furniture | 2010 | Upgrades/ replacements 2016 | 2016 | Upgrade / Replacement | 2026 | 5000 | Reserve | 2026: 5000
EQUIPMENT
| Lighting Board / Equipment | 2010 | Add'l equip 2012, 2017, 2022 | 2022 | Upgrade / Replacement of board | 2027 | 24000 | Reserve / Grant | 2027: 24000
| Sound Board / Equipment | 2010 | Replacement board 2013; upgrades 2018 | 2018 | Upgrade / Replacement | 2025 | 15000 | Reserve | 2025: 15000; 2030: 20000
| Office Technology | 2010 | Add'l equip 2009, 2013, 2018, 2022 | 2022 | Upgrade / Replacement | 2027 | 15000 | Reserve | 2027: 15000
GENERAL MAINTENANCE
| Painting | 2010 | Spot touch ups as needed; repaint specific areas every three years in rotation | 2021 | Maintenance/ Repaint | Every three years | 3500 | Operating | 3500 | 600 | 600 | 4000 | 750 | 750 | 5500
| Repairs/Maint | NA | Gen Maint/repairs | 2023 | Maintenance | Annually | 2500 | Operating | 2500 | 2500 | 2500 | 3000 | 3000 | 3500 | 3500
TOTAL MAINTENANCE / REPLACEMENT COSTS | [8 empty] | 19900 | 55000 | 26100 | 67150 | 6250 | 6750 | 54200
Prepared by Elizabeth Hamilton Foley © 2023
This document is provided for small and midsize nonprofit organizations for educational purposes only. It should not be considered legal or accounting advice on any specific matter. The user of this template/sample is responsible for tailoring the contents to meet the specific needs and circumstances of the organization. It is recommended that all policies be reviewed by legal counsel familiar with the laws of the state in which the nonprofit conducts business. The user is responsible for double checking all calculating formulas.

## Blank
Building Maintenance / Replacement Schedule
|  | Install / Purch Date |  | Last Upgrade Date
|  |  | Current Status |  | Anticipated Maintenance Need | Estimated DATE | Estimated Cost | Funding Source | Yr1 | Yr2 | Yr3 | Yr4 | Yr5 | Yr6 | Yr7 | Yr8 | Yr9 | Yr10
SYSTEMS
Electrical
HVAC
Security
Plumbing
FURNISHINGS
Office Furniture
Carpeting
EQUIPMENT, SOFTWARE
Software
Hardware
Peripherals
Telecom
Specialized
GENERAL MAINTENANCE
Painting
Repairs
TOTAL MAINTENANCE / REPLACEMENT COSTS | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0